Water PIT Section – Final Locked Version (v1.0)

Status: LOCKED / REFERENCE VERSION
Scope: Water AMI – Pit / Vault Meter Installations
Purpose: This document defines the finalized discovery, scope, and governance questions for Water PIT meter installations. It is intended to be used as a frozen reference for tool implementation, RFP development, and scope validation.

SECTION A — PROJECT CONTEXT & COMPLIANCE

A1. Project Start

Question: Is there a target start date for field installation activities?
Options: Yes (date) / No / TBD
Notes: Optional

A2. Installation Duration

Question: What is the anticipated duration of the installation phase?
Options: <3 months / 3–6 months / 6–12 months / >12 months / Unknown
Notes: Optional

A3. Project Phasing

Question: Will the project be executed in multiple phases (e.g., pilot, rollout, zones)?
Options: Yes / No / Not sure
Notes: Optional (Describe phases, sequencing, pauses, or funding dependencies)

A4. Labor Compliance Requirements

Question: Are there any labor compliance or workforce requirements applicable to this project?
Options (multi-select):

- State or local prevailing wage

- Federal Davis-Bacon

- Project Labor Agreement (PLA)

- Union labor requirements (without PLA)

- None

- Not sure
Notes: Optional

A5. Contractor Licensing Requirements

Question: Are there any state or local licensing requirements for contractors performing meter installation work?
Options: Yes / No / Not sure
Notes: Optional (Describe known requirements)

A6. Insurance Requirements

Question: Are there specific insurance requirements beyond standard utility contractor coverage?
Options: Yes / No / Not sure
Notes: Optional

A7. Diversity / Participation Requirements

Question: Are there any small business, MBE/WBE, or similar participation requirements?
Options: Yes / No / Not sure
Notes: Optional

SECTION B — LEGACY METERS & DATA READINESS

B1. Legacy Meter Type

Question: What type(s) of existing meters or endpoints are expected to be removed?
Options: Mechanical / AMR / AMI / Mixed / Unknown
Notes: Optional

B2. Legacy Meter Material

Question: What is the predominant material of existing water meters?
Options: Brass / Plastic / Mixed / Unknown
Notes: Optional

B3. Service Data Availability

Question: Will the Utility provide a service-level data file to support installation planning?
Options: Yes / No / Not sure
If Yes, data may include (multi-select):

- Service addresses

- Route numbers

- Read sequence

- Meter sizes

- Existing meter serial numbers

- Existing endpoint IDs

- GPS coordinates

- Notes on difficult-to-locate meters

Notes: Optional (Describe data source and limitations)

SECTION C — CUSTOMER OUTREACH (PIT-RELATED)

C1. Outreach Requirements

Question: What customer notification or outreach activities are required?
Options (multi-select): Pre-install notification / Post-install notification / Door hangers / None specified / Not sure
Notes: Optional

Best Practice: Pre-install postcards are typically preferred over door hangers due to cost and efficiency.

C2. Outreach Responsibility

Question: Who is responsible for outreach materials and distribution?
Options: Utility / Contractor / Shared / Not sure
Notes: Optional

C3. Language Requirements

Question: Are outreach materials required in languages other than English?
Options: Yes / No / Not sure
Notes: Optional

C4. Call Center Support

Question: Will the contractor be required to provide customer support or a call center?
Options: Yes / No / Not sure
Notes: Optional (Hours, language coverage)

SECTION D — WAREHOUSE, STAGING & DISPOSAL

D1. Material Storage Responsibility

Question: Who will be responsible for storing new meters and materials?
Options: Utility / Contractor / Shared / Not sure
Notes: Optional

D2. Staging Area Availability

Question: Will a centralized staging or warehouse location be provided?
Options: Yes / No / Not sure
Notes: Optional (Location, utilities, fleet access, equipment)

D3. Waste & Disposal Responsibility

Question: Who is responsible for disposal of the following materials?

- Salvageable meters/lids

- Recyclables

- Spoils/debris

- Hazardous waste (batteries/endpoints)

Options per item: Utility / Contractor / Shared / TBD
Notes: Optional

SECTION E — ROUTING, WORK STRUCTURE & GOVERNANCE (FINAL)

E1. Deployment Strategy

Question: What best describes the overall meter deployment approach?
Options: Full replacement / Targeted replacement / Hybrid / Retrofit-only / Unknown
Notes: Optional

E2. Existing AMI / Skip Logic

Question: Are there existing AMI/AMR systems that will remain in place?
Options: Yes / No / Partially / Not sure
Notes: Optional

E3. Skip Frequency

Question: How frequently are skipped locations expected?
Options: <5% / 5–15% / 15–30% / >30% / Unknown
Notes: Optional

E4. Route Contiguity

Question: Will work orders be geographically contiguous?
Options: Yes / Mostly / Mixed / Not defined
Notes: Optional

E5. Route Definition & Billing Constraints

Question: Who defines route boundaries and sequencing?
Options: Utility / Contractor / Shared / Not defined

Billing Coordination: Are billing blackouts or rebill windows required?
Options: Yes / No / Not sure
Notes: Optional

E6. Route Gating

Question: Will route-level completion thresholds be required before advancing?
Options: Yes / No / Under consideration / Not defined
Criteria may include: Substantial completion / % completion / Utility approval / Issue disposition
Notes: Optional

E7. Route Completion Definition

Question: How is route completion defined?
Options (multi-select): Completed installs / Customer refusals / RTU logged / UIR logged / Final reconciliation
Notes: Optional

E8. RTU — Return to Utility

Question: How should locations outside contractor scope be handled?
Options: Logged & returned / Separate contingency / Removed from scope / Not defined
Notes: Optional

E9. UIR — Utility Intervention Required

Question: How should locations requiring utility action be handled?
Options: Utility resolves / Contractor authorized upon approval / Combination / Not defined
Notes: Optional

E10. Contractor Progression Protection

Question: If RTU/UIR items remain unresolved due to utility-side delays, may the contractor advance to new routes?
Options: Yes / No / Case-by-case / Not defined
Notes: Optional

E11. Seasonal & Environmental Constraints

Question: Are seasonal, freeze, flooding, or groundwater conditions expected?
Options: Yes / No / Some areas / Unknown
Notes: Optional

E12. Historic & Aesthetic Constraints

Question: Are any meters located in historic districts or areas with aesthetic restrictions?
Options: Yes / No / Not sure
Notes: Optional

E13. Master Data Provisioning

Question: Will the Utility provide a master CIS/service data file?
Options: Yes / No / Not sure
Notes: Optional

E13a. Data Refresh Frequency

Options: Daily / Weekly / Monthly / One-time / Not defined
Notes: Optional

E14. Installation Data Capture Requirements

Required data typically includes:

- Old meter serial number (validation)

- New meter serial number

- Endpoint/radio serial number

- Old reading (out-read)

- New reading (in-read)

- Timestamp

- Location/service ID

Notes: Optional

E14a. Data Exchange Method

Options: Automated integration / Secure file transfer / Spreadsheet/manual / Not defined
Notes: Optional

E15. Data Exceptions & Validation

Question: How should data mismatches or exceptions be handled?
Options: Contractor correction / Utility resolution / Exception workflow / Not defined

Best Practice: Field-verified data discrepancies typically indicate CIS data issues unless installation error is confirmed.

E16. Post-Install Validation

Question: Is at least one successful system read required to validate installation?
Options: Yes / No / Vendor-defined / Not specified
Notes: Optional

E17. Non-Reading Installations

Question: If installation is correct but communication fails due to system/material constraints, how is responsibility assigned?
Options: Contractor / Vendor / Utility / Case-by-case / Not defined
Notes: Optional

E18. Exception Impact on Route Closure

Question: Should unresolved non-installation-related exceptions prevent route closure?
Options: No / Only if install error / Yes / Not defined
Notes: Optional

END OF WATER PIT SECTION – LOCKED REFERENCE VERSION